Note: This template is for GMP Direct Impact and GCP systems only.

INSTRUCTIONS – DELETE THIS PAGE BEFORE REVIEW

CREATING NEW DOCUMENTS STOP! DO NOT CREATE A DRAFT OF THIS TEMPLATE. To create a new document from this template, use one of the following options: Make a copy - Make a copy functionality allows the user to copy metadata, including document type, from the Lilly designated template. The metadata can be updated as needed for the new document. +Create - Create document from upload creates a new document from a Lilly designated template. When using this method, download the Lilly designated template source file, upload the new document, and populate the metadata. Refer to Tech@Lilly (IDS) Validation Deliverable Mapping for QualityDocs for metadata guidance.

text color - Red Italics = instructions and guidance. DELETE prior to document review. - Black = recommended. REVIEW and MODIFY with applicable content. - Black and set off by < >= REPLACE text with applicable content. - Green = examples. REVIEW, MODIFY or DELETE if not needed. REQUIRED SECTIONS Sections indicated by this purple icon must be completed to comply with the applicable GSOP. If the section is not applicable, a rationale must be included in the section. THINGS TO CONSIDER Sections indicated by this orange icon are optional for a system/platform. Include information only if it enhances the document's completeness. Remove sections that do not apply. COMPLETING TABLES This icon at the foot of tables indicates instructions on how to complete the table.

TRAINING REQUIREMENTS

For a new SOP, Yes must be selected in the New Procedure section. For a revised SOP, consult Appendix A of LCS-010, Learning Plan Guidance to determine if retraining is appropriate and select Yes or No in the Revised Procedure section accordingly.

| Place an “X” in the appropriate box. |  |
| --- | --- |
| New Procedure |  |
| Training Required | Yes ☐ No ☐ |
| Revised Procedure |  |
| Retraining Required | Yes ☐ No ☐ |

REVIEWERS

The following individuals have reviewed this document for their area of expertise.

| Role | Name |
| --- | --- |
| Technical Subject Matter Expert (TSME) | <Name> |

APPROVERS

| Role | Name, Job Title | Approval Signifies |
| --- | --- | --- |
| Technical System Owner (TSO) | <Name, Job Title> | Understanding of responsibilities for extent of validation; agreement to provide necessary resources; ensuring the appropriate people have reviewed the validation artifact. |
| Computer System Quality Assurance (CSQA) | <Name, Job Title> | System complies with applicable computer system procedures. |

purpose

This document describes the process for conducting System Audit Trail Review (ATR) for <System Name>.

AREAS INVOLVED

<System Name> Tech@Lilly Support Team

CONTACT

For any questions related to this SOP, contact the Owning Subject Matter Expert.

table of contents

1.0	Roles and Responsibilities	4

2.0	Audit Trail Review Process for GMP Direct Systems	4

3.0	Audit Trail Review Process for GCP Systems	6

TERMS AND DEFINITIONS	7

REFERENCED DOCUMENTS	8

REVISION HISTORY	9

Roles and Responsibilities

Table 1: Roles and Responsibilities

| Role | Responsibility |
| --- | --- |
| TSME | Execute the detailed steps in this SOP and participate in the review. Gather the evidence for the review. Document the results of the review. |
| TSO | Review the results of the audit trail review. Verify that the Lilly Technical personnel reviewed the audit trail information. |
| CSQA | Conduct a review of the audit trail results Verify the appropriate actions are taken for any findings identified during the review. |

Audit Trail Review Process for GMP Direct Systems

If the system is not GMP Direct Impact, delete this section.

The purpose of this section is to provide the detailed process for conducting the System Audit Trail Reviews against the system vulnerabilities that have been identified through the GMP Direct Impact assessment for the system and should complement the Reviews Required as defined in the assessment. For the tables below where the assessment indicates that the system already meets the controls then, delete that specific table entry, populating the others as required.

Table 2: Vulnerability Description SV1

| Vulnerability Number | Vulnerability Description |  |
| --- | --- | --- |
| SV1 | The computer system does not enforce segregation of duties. |  |
| # | Step Description | Role |
| 1. |  |  |

Table 3: Vulnerability Description SV2

| Vulnerability Number | Vulnerability Description |  |
| --- | --- | --- |
| SV2 | Computer system clock can be modified by application administrators. |  |
| # | Step Description | Role |
| 1. |  |  |

Table 4: Vulnerability Description SV3

| Vulnerability Number | Vulnerability Description |  |
| --- | --- | --- |
| SV3 | Password requirements are not met. |  |
| # | Step Description | Role |
| 1. |  |  |

Table 5: Vulnerability Description SV4

| Vulnerability Number | Vulnerability Description |  |
| --- | --- | --- |
| SV4 | Privileged shared/default accounts are active. |  |
| # | Step Description | Role |
| 1. |  |  |

Table 6: Vulnerability Description SV5

| Vulnerability Number | Vulnerability Description |  |
| --- | --- | --- |
| SV5 | Administrators have access to turn off audit trail capability. |  |
| # | Step Description | Role |
| 1. |  |  |

Per SV6 in GSOP-1201.1-TL.8, GMP ATR and NTR Expectations, if, during the assessment process, there is/are additional vulnerabilities identified that are not controlled then, repeat the following table for each additional vulnerability.

Table 7: Additional Vulnerability Description SV6

| Vulnerability Number | Vulnerability Description |  |
| --- | --- | --- |
| SV6 | <Describe the specific vulnerability> |  |
| # | Step Description | Role |
| 1. |  |  |

Audit Trail Review Process for GCP Systems

If the system is not GCP regulated, delete this section.

The purpose of this section is to provide the detailed process for conducting the System Audit Trail Reviews against the system vulnerabilities that have been identified through the GCP assessment. For the tables below where the assessment indicates that the system already meets the controls then, delete that specific table entry, populating the others as required.

Table 8: Activity ATR Vulnerability Description AV1

| Vulnerability Number | Vulnerability Description |  |
| --- | --- | --- |
| AV1 | The computer system does not enforce segregation of duties. |  |
| # | Step Description | Role |
| 1. |  |  |

Table 9: Activity ATR Vulnerability Description AV2

| Vulnerability Number | Vulnerability Description |  |
| --- | --- | --- |
| AV2 | Computer system clock can be modified by application administrators. |  |
| # | Step Description | Role |
| 1. |  |  |

Table 10: Activity ATR Vulnerability Description AV3

| Vulnerability Number | Vulnerability Description |  |
| --- | --- | --- |
| AV3 | Password requirements are not met. |  |
| # | Step Description | Role |
| 1. |  |  |

Table 11: Activity ATR Vulnerability Description AV4

| Vulnerability Number | Vulnerability Description |  |
| --- | --- | --- |
| AV4 | Privileged shared/default accounts are active. |  |
| # | Step Description | Role |
| 1. |  |  |

Table 12: Activity ATR Vulnerability Description AV5

| Vulnerability Number | Vulnerability Description |  |
| --- | --- | --- |
| AV5 | Administrators have access to turn off audit trail capability. |  |
| # | Step Description | Role |
| 1. |  |  |

Per AV6 in GSOP-1201.1-TL.9, GCP Audit Trail Review Expectations, if, during the assessment process, there is/are additional vulnerabilities identified that are not controlled then, repeat the following table for each additional vulnerability.

Table 13: Additional Activity ATR Vulnerability Description AV6

| Vulnerability Number | Vulnerability Description |  |
| --- | --- | --- |
| AV6 | <Describe the specific vulnerability> |  |
| # | Step Description | Role |
| 1. |  |  |

TERMS AND DEFINITIONS

Acronyms are spelled out on first mention with the abbreviation in parentheses immediately following. The abbreviation is used alone thereafter. Remove the table below if it is not needed.

The terms and acronyms in this document are defined at their first occurrence.

Table 14: Terms and Definitions

| Term | Definition |
| --- | --- |
| <Term or Acronym> | <Definition - Explain what the term or letters mean> |

REFERENCED DOCUMENTS

System documents are stored in the Document Management System, <QualityDocs>. Additional artifacts (including <artifact type>) are stored in <Tool - Artifact Location>.

| Document Number | Document Name |
| --- | --- |
| <Document Number> | <Document Name> |

The following attachments are associated with this document:

| Document Number | Document Name | Document Approvers |
| --- | --- | --- |
| <Document Number> | <Document Name> | <Approver Role> |

REVISION HISTORY

| Version | Revision Date | Summary of Changes | Revised By, Role | Reference Number |
| --- | --- | --- | --- | --- |
| <Version Number> | <dd-Mmm-yyyy> | <Succinct description of the current revision being made to the document> | <Name, Role> | <CHG#, RITM#, PRB#, INC#, CAPA#> or N/A |